## General
ADDRESS: |  |  |  | Telephone:
CITY | Rotterdam
THEATER | Nieuwe Luxor Theater |  |  | General | 0031-10-4960000
Address | Posthumalaan 1
Postal Code | 3072 AG |  |  | Tecnical department | 0031-10-4960133
Emailaddress:
General | info@luxortheater.nl
Tecnical Department | toneelmeesters@luxortheater.nl
Homepage | www.luxortheater.nl
Names:
Managing Director | Marc van Kaam |  |  |  | 0031-10-4960111
Head Tecnical Device | Egbert Melema |  |  |  | 0031-10-4960130
Theatre technical coordinator | Fred Tamminga |  |  |  | 0031-10-4960133
Stagemanagers | René Klomp |  |  |  | 0031-10-4960133
Accessibility:
Accessible with trailer | Yes
Number of Loadingdocks | 3
Standard Times:
Showtime Evening | 20:00
Showtime Afternoon | 14:00
Theater open between 17:00 en 19:00 | Yes
Cabine open between 17:00 en 19:00 | Yes
Seats:
Maximuml | 1527 |  | Soundpit: | 10 seats wide
Auditorium with small Orchestrapit | 1489 | 38
Auditorium with large Orchestrapit | 1069 | 90
Balkony 1 |  | 420
Balkony 2 |  | 197
Build | 2001
Bijzonderheden

## Greenroom
Greenroom
Opening times
| Mo to Fri | 11:00 | - | 1:00
| Sat and Sun | 15:30 | - | 1:00
| Matinee | 12:00 | - | 1:00
Capacity
| Number of persons | 90
Kitchen | Meals | Cold |  | Yes
|  | Warm |  | Yes

## Measurements
Measurements
|  |  | Opening |  |  |  | Portal bridge height
|  |  | Width | 1602 | cm. | Minimal | 0 | cm.
|  |  | Height | 1000 | cm. | Maximum | 1172 | cm.
[6 empty] | Rideau | 972 | cm.
|  | Tormentor opening |  | Left | Right | Total
|  |  | Minimum | 702 | 701 | 1403 | cm.
|  |  | Maximum | 901 | 901 | 1802 | cm.
Depth:
From baseline to |  |  | back of auditorium | 2626 | cm.
|  |  | balcony | 1986 | cm.
|  |  | front of pit | 781 | cm. |  | 487 first part
|  |  | front of stage | 250 | cm.
|  |  | curtain | 140 | cm.
|  |  | front of tormentor | 80 | cm.
|  |  | back bridge | 1793 | cm.
|  |  | upstage wall | 1897 | cm.
|  |  | total width | 4100 | cm.
Width:
From centre line |  |  | side bridge right | 1138 | cm. |  | 1320 cm. fixed side bridge
|  |  | tower wall right | 1447 | cm.
|  |  | side stage wall right | 1700 | cm.
|  |  | side bridge left | 1138 | cm. |  | 1320 cm. fixed side bridge
|  |  | tower wall left | 1450 | cm.
|  |  | side stage wall left | 2450 | cm.
Height: |  |  |  | Right | Left | Back
From floor |  |  | to bridges | 1212 | 1212 | 1212 | cm.
|  |  | to fly loft | 2536 | cm.
|  |  | stage height | -76 | cm.
Details: |  |  | height side stage | 917 | cm.
|  |  | height curtain | 1532 | cm.
We don't have a firecurtain

## Loading dock
Loading docks
Special |  | With roof
Number |  | 3 Trailers
|  | Maximum height of the trucks | 440
|  | Height | 0 | (to stage floor)
|  | Height | Dock-leveller | 66-118 cm
|  | Number of trucks at the same time | 3
Measurements | Dock door | 1 | 2 | 3
Stage side
Width |  | 260 | 300 | 300
Height |  | 310 | 310 | 310
Smallest door to
|  | Stage | Dressing rooms | Orchestra pit
| Width | 799 | 200 | 200
| Height | 347 | 210 | 210

## Detail stage
details floor
Material | Kerouwing |  |  | material sidestage | Kerouwing
Max. weight | 7.5 | kN/m2
Liften
| lenght | width | depth
Pit lift | 2025 | 535 | -425 |  |  | 0
Piano lift | 396 | 216 |  |  | max. weight | Belasting: 5,0 kN/m2
Piano lift is upstage left

## Dressingrooms
Dressing rooms
| Orchestra |  |  |  |  | Stage level
Number of | 1 | 1 | 1 |  | 3 | 1 | 1 | 1 | 3
Persons |  |  | 1 |  | 1 | 3 | 3 | 3 | 9
Floor space | 47.1488 | 26.7648 | 15.4 |  | 89.3136 | 24 | 24 | 21 | 69
Sink | 3 | 3 | 1 |  |  | 1 | 1 | 1
Showers | 2 | 2 | 1 |  |  | 1 | 1 | 1
Toilet | 2 | 3 | 1 |  |  | 1 | 1 | 1
One floor up
Number of | 1 | 1 | 1 | 1 |  |  |  |  | 4
Persons | 6 | 11 | 9 | 8 |  |  |  |  | 34
Floor space | 13.5 | 23 | 21 | 24 |  |  |  |  | 81.5
Sink | 2 | 2 | 2 | 2
Showers | - | - | - | -
Toilet | - | - | - | -
Two floors up
Number of | 1 | 1 | 1 | 1 |  |  |  |  | 4
Persons | 16 | 16 | 15 | 14 |  |  |  |  | 61
Floor space | 43.5996 | 43.6373 | 42.8967 | 39.616 |  |  |  |  | 169.7496
Sink | 2 | 2 | 2 | 2
Showers | - | - | - | -
Toilet | - | - | - | - |  | Total of dressing rooms |  |  | 11
[6 empty] | Total of persons |  |  | 104
Other rooms:
| Wardrobe room |  |  |  | Wigs and make-up room
| stage level |  |  |  | stage level
Number of | 1 |  |  |  | 1
Persons
Floor space | 32 |  |  |  | 31
Sink | 1 |  |  |  | 2
Showers | - |  |  |  | -
Toilet | - |  |  |  | -
Details | Toilets |  | Showers |  | (not in dressing rooms)
Stage level | 6 |  | -
One floor up | 7 |  | 6
Two floors up | 7 |  | 6

## Communication
Communication
Intercom
| Sound area in auditorium | Yes
| Lighting carbine | Yes
| Stage left | Yes
| Stage right | Yes
| Fly computer | Yes
| Follow spots | Yes
| Lighting bridges | Yes
| Side bridge | Yes
| Pit | Yes
Call system to :
| Foyers | Yes
| Back stage area | Yes
| Dressing rooms | Yes
| Auditorium | No
| Show sound in dressing rooms | Yes
| Place of stage manager's desk | stage right
Intercom:
Type
| Brand | Clearcom
| Number of headsets | 8 | RS 501
| Wireless | 4 Beltpacks | HME
| Master station | 4 lines | MS 440
Tv -circuit:
| Camera in auditorium | Yes
| Camera in pit | Yes
| Infra red | No

## Curtain
Curtain:
Curtain:
| Colour | Green
| Operation place | Downstage right
| Operated by | Hand and electric
| Movement | Traveller
Masking:
|  | Number | Height | Width | Colour
| Legs | 8 pair | 1200 | 400 | Black
| Borders | 8 | 500 | 2200 | Black
Proscenium
| Backdrop | 8 parts | 1200 | 450 | Black
| Backdrop | 1 | 1000 | 2200 | Black
| Cyclorama | 1 | 1200 | 2200
| Gauze | 1 | 1120 | 2200 | Black
| Dance floor: | Marley
| Colour | Black and grey

## Connections
Connections:
| Cable TV | Yes
| Telephone on stage | Yes | Downstage right/analog
| Fire hose * | Yes | Upstage right
Upstage left
Downstage right
Downstage left
| Tap | Yes | Upstage right
Upstage left
| Water drain | Yes | Upstage left
| Smoke detectors | Yes | Possible to switch off | Yes
| Ventilation on stage | Yes
| Ventilation possible to switch off | Yes
| Extra vent on stage | No
| Ventilation in auditorium | Yes
| Ventilation possible to switch off | Yes
| Ventilation in pit | Yes
| Ventilation possible to switch off | Yes
* Fire hose may only be used in case of fire

## Manlift
Man lift:
| Man lift | Yes
| Working height | 12 | mtr.

## Fly's
Fly's
| Maker | Trekwerk
| Position of computer |  | Stage right
| Control board | TNM
| Height of fly's | 24 | cm.
| Max. | 2340 | cm.
Bar length
| Right | 1100 | cm.
| Left | 1100 | cm.
| Total | 2200 | cm.
| Bar diameter | 48.3 | mm.
| Number of bars | 78
| Max. weight | 500 | Kg.
| Under a cable | 250 | Kg.
| Between cables | 250 | Kg.
| Number of cables | 7
| Distance between cables | 3350 | mm.
| Fly loft walkable | Yes
| Side masking | Under fixt side bridges and back bridge
| Sort of bar | Truss
| Speed |  | speed(m/s) |  | Acceleration (sec)
|  | 0-250 kg | 1.7 |  |  | 1.5
|  | 250-500 kg | 1.2 |  |  | 3
Sidebars
|  | Left 1* | Left 2 | Right 1* | Right 2
| Distance to centre stage | 1230 | 1302 | 1230 | 1302
| Distance to baseline | 40 | 40 | 40 | 40
| Bar length | 1680 | 1726 | 1680 | 1726
| Bar height | - | 2340 | - | 2340
| Max. weight | 500 | 500 | 500 | 500 | Kg.
| Controlled | Elec. | Comp. | Elec. | Comp.
* : Under side bridge
Proscenium bars
Bar length
| Right | 800 | cm.
| Left | 800 | cm.
| Total | 1600 | cm.
| Number of bars | 3
| Max. weight | 500 | Kg.
| Under cable | 250 | Kg.
| Between cables | 250 | Kg.
| Number of cables | 5
| Distance between cables | 3350 | mm.
| Detail | electric not on the computer
Point hoists
| Stage | Travelator system
3 Row's
2 outside 3 x 1000 Kg.
Middle 2 x 1000 Kg.
| Proscenium | 2 Left | 1000 Kg.
|  | 2 Right | 1000 Kg.

## Hanging plot
Play
Max. weight
500 Kg.
Depth | Bar | Name |  | Detail
number
-3 | PR1
-2.8 | PR2
-2.6 | PR3
-1.65 | VD
-1.4 | SL 1
-1.2 | SL 2
Baseline
0.4 | 1
0.6 | 2
0.8 | 3
1 | 4
1.2 | 5
1.4 | 6
1.6 | 7
1.8 | 8
2 | 9
2.2 | 10
2.4 | 11
2.6 | 12
2.8 | 13
3 | 14
3.2 | 15
3.4 | 16
3.6 | 17
3.8 | 18
4 | 19
4.2 | 20
4.4 | 21
4.6 | 22
4.8 | 23
5 | 24
5.2 | 25
5.4 | 26
5.6 | 27
5.8 | 28
6 | 29
6.2 | 30
6.4 | 31
6.6 | 32
6.8 | 33
7 | 34
7.2 | 35
7.4 | 36
7.6 | 37
7.8 | 38
8 | 39
8.2 | 40
8.4 | 41
8.6 | 42
8.8 | 43
9 | 44
9.2 | 45
9.4 | 46
9.6 | 47
9.8 | 48
10 | 49
10.2 | 50
10.4 | 51
10.6 | 52
10.8 | 53
11 | 54
11.2 | 55
11.4 | 56
11.6 | 57
11.8 | 58
12 | 59
12.2 | 60
12.4 | 61
12.6 | 62
12.8 | 63
13 | 64
13.2 | 65
13.4 | 66
13.6 | 67
13.8 | 68
14 | 69
14.2 | 70
14.4 | 71
14.6 | 72
14.8 | 73
15 | 74
15.2 | 75
15.4 | 76
15.6 | 77
15.8 | 78
side left
side right

## Masking
18 meters | 16 meters | 14 meters |  | 11 meters
Trek | Trek | Trek |  | Trek
2 | 2 | 2 |  | 2 | 13 meter
5 | 7 | 9 |  | 7
8 | 13 | 17 |  | 16
11 | 20 | 27 |  | 27
15 | 28 | 38 |  | 41
19 | 37 | 52 |  | 59
24 | 47 | 69
29 | 58
35 |  | 13 meters
41 | 15 meters |  |  | 10 meters
48 |  | Trek
56 | Trek |  |  | Trek
64 |  | 2
73 | 1 | 9 |  | 2 | 13 meter
| 6 | 18 |  | 8 | 12 meter
17 meters | 12 | 29 |  | 15
| 19 | 43 |  | 26
Trek | 28 | 60 |  | 40
| 38 |  |  | 58
2 | 50 | 12 meters
6 | 65
10 |  | Trek
15
20 |  | 2 | 13 meter
26 |  | 8
33 |  | 17
41 |  | 28
50 |  | 42
60 |  | 60
71
18 meters | 16 meters | 14 meters |  | 11 meters
with pit | with pit | with pit |  | with pit
Trek | Trek | Trek |  | Trek
2 | 2 | 4 |  | 4 | 13 meter
6 | 8 | 13 |  | 13 | 12 meter
10 | 15 | 24 |  | 24
15 | 23 | 37 |  | 40
20 | 32 | 53 |  | 59
26 | 43 | 72
32 | 56
39 | 70 |  |  | 10 meters
46 |  | 13 meters |  | with pit
54 |  | with pit |  | Trek
63 | 15 meters | Trek
73 | with pit |  |  | 4 | 13 meter
| Trek | 4 |  | 13 | 12 meter
|  | 14 |  | 24 | 11 meter
17 meters | 3 | 27 |  | 38
with pit | 11 | 42 |  | 58
Trek | 20 | 61
31
2 | 44
7 | 59 | 12 meters
13 | 76 | with pit
19 |  | Trek
26
34 |  | 4 | 13 meter
43 |  | 13
53 |  | 26
64 |  | 42
62

## Pit
Pit
| Orchestra pit | Yes
| Total | 127 | m2
| Open part | 84 | m2
| Closed part | 43 | m2
| Max. weight | 7.5 | kN/m2
| Height under stage floor |  | cm.
Pit-lift
|  | Big |  | Small
| Length | 2025 | cm. | 1575 | cm.
| Width | 535 | cm. | 246 | cm.
| Depth | -425 | cm. | -425 | cm.
Instruments
| Piano | Yamaha (2x) |  |  | 440 | Hz.
| Grand piano | Yamaha |  |  | 440 | Hz.
| Piano stool | Yes |  | # | 3
Music stands
| Music stands with light | 100
| Conductor's stand | 1
| Conductor's podium | Yes
Concert chairs
| Number | 100

## LX
Light
General
| Position of lighting cabin | In the back of auditorium
| Lighting board | Micron 4D
| Backup computer | Micron 4D
| space for lighting board company | Yes
| Possibility to open window | Yes
| Colour windows | No
| Remote control | Yes
| Midi connection | Yes |  |  | Protocol
| Lighting board mobile | Yes
| Houselights on lighting board | Yes |  |  | Fading time |  | Var. | sec.
Dimmers
| Brand/type | Compulite
| Location dimmer room | 5th Floor
| Number of dimmers | 286 |  |  | Power |  | 2.5 | kW
| Number of dimmers | 70 |  |  | Power |  | 5 | kW
| Number of mobile dimmers | 2*24+4*6 |  |  | Power |  | 2.5 | kW
Dimmer protocol
| Protocol | Ethernet - dmx (Compulite)
Extra DMX connections
Location
Supply
| Connector | CEE-form
| Shuko - CEE-form 2,5 kW | Yes
| Shuko - CEE-form 5,0 kW | No
| CEE-form - Shuko 2,5 kW | Yes
| CEE-form - Shuko 5,0 kW | Yes
| Auxiliary power source | # | Amp. | Type
| Downstage right | 1 | 125 | 125
| Upstage right | 1 | 125 | 125
| Upstage right | 1 | 63 | 63
| Downstage left | 1 | 125 | 125
| Downstage left | 1 | 63 | 63
| Upstage left | 1 | 125 | 125
| Upstage left | 1 | 63 | 63
| Loading dock | 1 | 125 | 125/63 | NOB (Television)
| Type of lights | # | Type |  | Power | Brand/make | Angel | Barn.
| First lighting bridge | 24 | Zoomprofile |  | 2000 | ADB | 15-40
| Second lighting bridge | 26 | Zoomprofile |  | 2000 | ADB | 15-40
| Second auditorium boom right | 3 | Zoomprofile |  | 2000 | ADB | 15-40
| First auditorium boom right | 6 | Zoomprofile |  | 2000 | ADB | 15-40
| Second auditorium boom left | 3 | Zoomprofile |  | 2000 | ADB | 15-40
| First auditorium boom left | 6 | Zoomprofile |  | 2000 | ADB | 15-40
| Proscenium bridge | 10 | PC |  | 2000 | ADB |  | Yes
| Portal bridge top | 12 | Fresnel |  | 2000 | Desisti |  | Yes
| Portal bridge middle | 6 | Fresnel |  | 2000 | Desisti |  | Yes
| Portal bridge middle | 8 | Zoomprofile |  | 1000 | ADB | 15-38 | Yes
| Portal bridge under | 6 | PC |  | 1000 | Desisti |  | Yes
| Portal bridge under | 8 | Zoomprofile |  | 1000 | ADB | 15-38
| Tormentor stage right | 9 | Zoomprofile |  | 1000 | ADB | 15-38
| Tormentor stage left | 9 | Zoomprofile |  | 1000 | ADB | 15-38
| Side bridge stage right | 15 | Zoomprofile |  | 2000 | ADB | 15-40
| Side bridge stage left | 15 | Zoomprofile |  | 2000 | ADB | 15-40
| Cyclorama | 12*4 | cycs |  | 1000
Extra's
|  | 16 | Zoomprofile |  | 2000 | ADB | 15-40
|  |  | Zoomprofile |  | 1000 | ADB | 15-38
|  | 12 | PC |  | 2000 | Desisti
|  | 42 | Par |  | 575 | Brite
|  | 12 | Fresnel |  | 2000 | Desisti
| Follow spots | 2 | Aramis |  | 2500 | Robert-Juliat | 4-8

## Sound
Technical Specs Audio New Luxor Theater
Sound System |  |  | Click blue links for more information
| Deck per side: | 2 | Alcons BF362i double 18" | Subwoofer
|  | 4 | Alcons LR 16 | Line Array
| Flown Left Cluster: | 12 | Alcons LR 16 | Line Array
| Flown Right Cluster: | 12 | Alcons LR 16 | Line Array
| Flown Center Cluster | 12 | Alcons LR 14 | Line Array
| Auditorium fill | 4 | Alcons SR 9 | Full Range
| Front Fill build in stage | 6 | Apogee SSM | Full Range
| Delay | 4 | D&B qi7
System is driven by 2 Dolby Lake processors
(dante configuration) can be operated by wireless notebook
Mixing Consoles:
|  | 1 | Allen & Heath D live s5000 | dante card
|  | 1 | Mixrack dm64 | aes card
|  | 1 | Allen & Heath sq5 | dante card | Rijnfoyer
|  | 1 | DT168 | dante
Monitors:
| Wedge: | 4 | Axys UFM 215 | Powered
|  | 8 | D&B m6 | 2 d20 amps | 2 in false proscenium
| Sidefill: | 2 | Apogee Artist 8000 | Stereo amp. Apogee Processor
| Hotspot: | 2 | Mackie srm150
Fixed Patch panels:
| Stage Left: | 1 | 8 Ch. Input - 8 Ch. Return | Free to patch
|  | 1 | 4 Ch. Intercom
| Stage Right: | 1 | 8 Ch. Input - 8 Ch. Return | Free to patch
|  | 1 | 4 Ch. Intercom
| Stage Left Upstage | 1 | 6 Ch. Input - 2 Ch. Return | Free to patch
|  | 1 | 4 Ch. Intercom
| Stage Right Upstage | 1 | 6 Ch. Input - 2 Ch. Return | Free to patch
|  | 1 | 4 Ch. Intercom
| Orchestra Pit: | 1 | 6 Ch. Input - 2 Ch. Return
|  | 2 | 12 Ch. Snake | Harting 36
|  | 1 | 4 Ch. Intercom
Microphones:
|  | 2 | AKG | D112
|  | 1 | AKG | Perception P200
|  | 4 | AKG | C535 EB
|  | 3 | Sennheiser | e604
|  | 2 | Sennheiser | MD421-II
|  | 3 | Sennheiser | MKH40-P48
|  | 2 | Sennheiser | e609
|  | 4 | Sennheiser | MD441-U
|  | 2 | Sennheiser | MKH60
|  | 2 | Sennheiser | ME 66
|  | 1 | Shure | KSM 9
|  | 2 | Shure | SM 58s
|  | 6 | Shure | SM 58
|  | 2 | Shure | SM 57
|  | 2 | Shure | SM 57 Beta A
|  | 2 | Shure | Unidyne 3
|  | 2 | Shure | SM 85
|  | 1 | Shure | SM 87 A
|  | 1 | Neumann | KM 140
|  | 2 | Neumann | KMS105
|  | 2 | Neumann | KM 184
|  | 2 | Crown | PCC 160
|  | 2 | Studio Projects | C 3 | Large Diaphram
|  | 1 | Audix | D6
|  | 2 | Audix | D2
|  | 1 | Audix | D4
|  | 1 | Audix | I5
Converter boxes
| D.I. Box | 3 | Countryman | TYPE 85
| Transformer 600 ohm | 2 | Radial | Pro48
Wireless:
| Receiver dual channel | 3 | Sennheiser | EM6000
| Pocket transmitter | 4 | Sennheiser | SK6000
|  | 4 | DPA | 4066 | 3 blank, 1 zwart
|  | 2 | Sennheiser | SKM6000 | DPA dfacto se2-ew
| Transmitter hearing impaired | 1 | Sennheiser |  | Mhz 863.500
| HME Wireless intercom | 4 | HME |  | Ghz 2,4
Stands:
| Mic. Stands: | 14 | K&M Black Stands 201A/2 | Long leg/telescopic boom
|  | 7 | K&M Black Stands Short 259 | Long leg/telescopic boom
|  | 3 | K&M round base
| Speaker Stands: | 4 | K&M Black Stand (for AE3s2)
Intercom:
| Clearcom | 1 | 4 Ch. Base ( Rack model )
|  | 1 | 4 Ch. Remote ( Rack model )
|  | 10 | Clearcom Belt + Headset
| HME Wireless intercom | 4 | HME
Power:
Clean earth
| Stage Left: | 1 | CEE 63 A 400 V
|  | 1 | CEE 32 A 400 V
|  | 1 | CEE 16 A 230 V
| Stage Right: | 1 | CEE 32 A 400 V
|  | 1 | CEE 16 A 230 V
| Stage Left Upstage | 1 | CEE 32 A 400 V
|  | 1 | CEE 16 A 230 V
| Stage Right Upstage | 1 | CEE 32 A 400 V
|  | 1 | CEE 16 A 230 V

## Audio-Visueel
Audio-Visual
|  |  | # | Brand/Type
| Slide projector | No
| Film projector | No
| Projection screen | Yes | 1 | Rear and Front
| Overhead projector | No
| Video projector | Yes | 1 | Hitachi CP-S317W
| (TV) Camera | No